Factors affecting the arterial to end-tidal carbon dioxide gradient in ventilated neonates

Emma Williams1, Nadja Bednarczuk1, Theodore Dassios1,2, Anne Greenough1,3,4

1 Department of Women and Children’s Health, School of Life Course Sciences, Faculty of Life Sciences and Medicine, King’s College London, UK

2 Neonatal Intensive Care Centre, King’s College Hospital NHS Foundation Trust, London, UK

3 Asthma UK Centre for Allergic Mechanisms, King’s College London, UK

4 NIHR Biomedical Research Centre based at Guy’s and St Thomas’ NHS Foundation Trust and King’s College London

Correspondence: Professor Anne Greenough, Neonatal Intensive Care Unit, 4th Floor Golden Jubilee Wing, King’s College Hospital NHS Foundation Trust, Denmark Hill, London, SE5 9RS, UK. Email: anne.greenough@kcl.ac.uk; Phone: +44 0203 299 3037

ABSTRACT

Objective: To determine factors which influenced the relationship between blood carbon dioxide (pCO2) and end-tidal carbon dioxide (EtCO2) values in ventilated, newborn infants. Furthermore, to assess whether pCO2 levels could be predicted from continuous EtCO2 monitoring.

Approach: An observational study of routinely monitored newborn infants requiring mechanical ventilation in the first 28 days after birth was undertaken. Infants received standard clinical care. Daily pCO2 and EtCO2 levels were recorded and the difference (gradient: ∆P-EtCO2) between the pairs were calculated. Ventilatory settings corresponding to the time of each blood gas assessment were noted. End-tidal capnography monitoring was performed using the Microstream sidestream Filterline H set capnograph.

Main results: A total of 4,697 blood gas results from one hundred and fifty infants were analysed. The infants had a median gestational age of 33.3 (range 22.3 - 42.0) weeks and birth weight of 1,880 (395 – 5,520) grams. Overall, there was moderate correlation between pCO2 and EtCO2   levels (r=0.65, p<0.001). The ∆P-EtCO2 for infants born less than 32 weeks of gestation was significantly higher (1.4kPa) compared to infants born at greater than 32 weeks of gestation (0.8kPa) (p<0.001). In infants born at less than 32 completed weeks of gestation, pCO2 levels were independently associated with EtCO2, day after birth, birthweight and fraction of inspired oxygen (FiO2) (model r2=0.52, p<0.001).

Significance: The results of end-tidal capnography monitoring have the potential to predict blood carbon dioxide values within the neonatal population.

Keywords: carbon dioxide, end-tidal, gradient, neonate, ventilation

ABBREVIATION LIST

BPD:		Bronchopulmonary dysplasia

CO2:		Carbon dioxide

EtCO2:	End-tidal carbon dioxide

FiO2:		Fraction of inspired oxygen

NICE:		National Institute for Health and Care Excellence

pCO2:   	Blood carbon dioxide

INTRODUCTION

Carbon dioxide (CO2) levels are routinely monitored on the neonatal unit, especially in those requiring invasive respiratory support as both hypercapnia and hypocapnia can have adverse effects on the developing brain (Wong et al 2021). The National Institute for Health and Care Excellence (NICE) has set out limits of CO2 levels to target during the first 72 hours and thereafter in mechanically ventilated prematurely born infants (NICE 2019). The gold standard for measurement, blood gas analysis, is invasive and cannot be utilised to provide continuous values of CO2, hence often leaving infants with periods of time during which CO2 is unmonitored. Tidal capnography on the other hand allows for non-invasive, real-time continuous measurement of exhaled CO2. Within the paediatric setting, non-invasive end-tidal CO2 (EtCO2) monitoring has been utilised to provide a reliable assessment of the effectiveness of mechanical ventilation (McDonald et al 2002).

The adoption of EtCO2 as a surrogate for the partial pressure of blood (arterial/capillary) carbon dioxide (pCO2) has, however, been questioned, especially for very low birth weight infants (Scrivens et al 2019). Concern has arisen within the neonatal population due to the often-reported poor agreement between pCO2 and EtCO2, especially in infants with severe lung disease (Mehta et al 2014; Trevisanuto et al 2012; Williams et al 2020; Scrivens et al 2019). Nevertheless, knowledge of the gradient between pCO2 and EtCO2 could provide valuable clinical information compared to standalone values of pCO2 and EtCO2. Indeed, the gradient has been utilised in adult intensive as an index of severity in acute respiratory distress syndrome (Yousuf et al 2017). A change in the observed EtCO2 may either be secondary to a change in the pCO2 value, or be reflective of a change in ventilatory factors affecting the gradient (Watkins and Weindling 1987). Furthermore, predictive models of pCO2 from EtCO2 values in children with varying degrees of respiratory failure have been described (Konca et al 2021). Reasons for discrepancies between pCO2 and EtCO2 values, however, have not been fully explored in neonates.

We aimed to determine factors which affected the relationship between pCO2 and EtCO2 in ventilated, newborn infants and whether pCO2 levels could be predicted from the results of continuous EtCO2 monitoring.

METHODS

Subjects and protocol

This was an observational study of routinely monitored newborn infants requiring mechanical ventilation.  Infants admitted to the neonatal intensive care unit at King’s College Hospital NHS Foundation Trust between January 2020 and March 2021 were included if they required invasive mechanical ventilatory support during the first 28 days after birth. Newborn infants of all gestational ages were included and further categorised into extremely/very preterm (<32 weeks of gestational age) or moderate-late preterm or term (>32 weeks of gestational age) (World Health Organisation 2018).

Infants received standard clinical care. Mechanical ventilation was provided by the SLE6000 neonatal ventilator (Carefusion, UK) using pressure-controlled or volume-targeted time-cycled ventilation. As per local trust policy and guidelines, infants were intubated with Cole’s shouldered endotracheal tubes. End-tidal capnography monitoring was performed using the Microstream sidestream Filterline H set capnograph (Phillips Medical Systems, Oridion Medical Ltd) which was placed between the endotracheal tube and ventilator tubing and provided real-time continuous values of end-tidal carbon dioxide levels (EtCO2) displayed on the ventilator screen. The nurses manually recorded the EtCO2 levels as part of their hourly observations which were documented on the nursing charts. Arterial or capillary blood gases were routinely performed by medical and nursing staff and analysed utilising the ABL90 FLEX PLUS analyser (Radiometer Ltd, Denmark) with CO2 (pCO2) reported in kPa. Arterial and capillary CO2 values have been shown to agree (r=0.93) in newborn infants and hence can be used interchangeably (Yang et al 2002).

Demographic information were recorded for each infant. Data were collected for the first 28 days after birth only while infants were mechanically ventilated. For each day of mechanical ventilation, simultaneous blood carbon dioxide (pCO2) and EtCO2 levels were documented at the time of each blood gas analysis. The difference (gradient) between paired pCO2 and EtCO2 levels (∆P-EtCO2) were calculated. Ventilatory settings corresponding to the time of each recorded blood gas were also noted. This included fraction of inspired oxygen (FiO2), mean airway pressure, peak inspiratory pressure, positive end-expiratory pressure, generated expiratory tidal volume and trigger rate. The average of each of these parameters across each day of mechanical ventilation were calculated. Bronchopulmonary dysplasia development was defined according to the criteria agreed in the 2001 workshop led by Jobe and Bancalari (Jobe and Bancalari 2001).

Sample size

A previous study comparing pCO2 and EtCO2 values in a population of ventilated paediatric patients found a mean difference between blood PaCO2 and end-tidal CO2 levels of 4.8 mmHg (standard deviation 8.1mmHg) (McDonald et al 2002). To detect a ∆P-EtCO2 of 4.8 mmHg (1.08 kPa) with 95% power at the 0.1% significance level, a minimum sample size of 138 infants was required.

Statistical analysis

Data were tested for normality using the Kolmogorov-Smirnov test and found to be non-normally distributed. Non-parametric tests were therefore performed. Bland Altman analysis was performed alongside correlation analyses which were undertaken using Spearman Rho. Mann-Whitney U test assessed whether the differences between the two groups of infants as categorised by gestational age (less than or greater than 32 weeks of completed gestation) were statistically significant. Linear regression analysis was performed to define the ability of EtCO2 to predict pCO2 after adjusting for birthweight, day of life and FiO2. In infants born at less than 32 weeks of gestational age, the ∆P-EtCO2 was compared in those who developed bronchopulmonary dysplasia (BPD) or those who required home oxygen compared to those who did not did not, using Mann Whitney U testing. Statistical analysis was undertaken with SPSS version 26.0 (SPSS Inc, Chicago, IL USA).

RESULTS

A total of 4,697 blood gases from one hundred and fifty infants who required invasive mechanical ventilation were included (84 male, 66 female). The infants had a median (range) gestational age of 33.3 (22.3 - 42.0) weeks and birth weight of 1,880 (395 – 5,520) grams [table 1]. Female infants were less mature (26.4 versus 28.2 weeks; p<0.001) and of lower birthweight (0.79 versus 0.97 kg; p<0.001) than their male counterparts. After correcting for this difference in gestational age, there was no significant difference in the pCO2-EtCO2 gradient between the two sexes [females 1.36 kPa versus males 1.17 kPa; adjusted p value 0.15]. Overall pCO2 and EtCO2 correlated across all gestational ages (r=0.65, p<0.001) [figure 1], Bland Altman plot (figure 2). This correlation remained when grouping the data into infants <32 weeks of gestational age (r=0.64, p<0.001) and >32 weeks of gestational age (r=0.61, p<0.001).

The gradient value was assessed over the first 28 days after birth. The median (range) ∆P-EtCO2 was 1.3 (-0.9 to 7.0) kPa in the whole study population. The average ∆P-EtCO2 for infants born less than 32 weeks of gestation was significantly higher (1.4kPa) compared to infants born at greater than 32 weeks of gestation (0.8kPa) (p<0.001).  As only three infants more than 32 weeks of gestation were ventilated beyond ten days after birth, the trend in mean ∆P-EtCO2 was reported only for the first ten days [table 2].  In infants less than 32 weeks of gestation, the temporal relationship between pCO2 and EtCO2 across the first 28 days after birth is shown in figure 3. The FiO2 correlated with the ∆P-EtCO2 in both less mature (r=0.44, p<0.001) and more mature infants (r=0.39, p<0.001) [table 3].

Following linear regression analysis, pCO2 levels were independently associated with EtCO2 (p<0.001), day of life (p<0.001), birthweight (p<0.001) and FiO2 (p<0.001) in infants born at less than 32 completed weeks of gestation (model r2=0.52, p<0.001). In infants born at greater than 32 weeks of gestation, EtCO2 (p<0.001), day of life (p<0.001) and FiO2 (p<0.001) were significantly associated with pCO2 (model r2=0.53, p<0.001). A predictive equation therefore was calculated to estimate pCO2 levels based on EtCO2 levels and the factors affecting the ∆P-EtCO2 gradient:

<32 weeks:

pCO2 = 4.26 (0.42 * EtCO2) + (2.18 * FiO2) + (0.02 * day of life) – (1.02 * birthweight)

>32 weeks:

pCO2 = 1.95 + (0.6 * EtCO2) + (0.02 * FiO2) + (0.03 * day of life)

In infants born at less than 32 weeks of gestation (n=66), 49 (74%) developed BPD.  Infants that developed BPD had a higher average ∆P-EtCO2 (1.44kPa) during the first 28 days after birth than those infants who did not develop BPD (1.15kPa) (p=0.007). Furthermore, of those infants who developed BPD, 31 infants (63%) required supplemental oxygen on discharge home from the neonatal intensive care unit, of which 25 infants were born at less than 28 weeks of gestational age. Infants requiring home oxygen had a greater ∆P-EtCO2 (1.48kPa) compared to BPD infants not requiring supplemental oxygen (1.25kPa) (p=0.002).

DISCUSSION

In ventilated newborn infants the partial pressure of the blood CO2 correlated with end-tidal CO2 both in term and preterm infants. The gradient between the two (∆P-EtCO2) was larger in less mature infants and those with higher oxygen requirements.

The moderate correlation between EtCO2 and pCO2, with the latter value being higher, agree with previously reported values in ventilated infants (Williams et al 2020; Singh et al 2013). Despite the values of EtCO2 being lower than pCO2, tidal capnography can provide continuous monitoring of CO2 between intermittent invasive blood gas analyses. The larger gradient in those born at less than 32 weeks of gestation may be related to anatomical, developmental, or environmental factors. The larger relative anatomical and apparatus dead space in less mature infants can contribute to a larger ∆P-EtCO2 gradient, as greater dilution of exhaled gas occurs (McSwain et al 2010; Williams et al 2021; Ream et al 1995; Lin et al 2017). Premature infants are born prior to completion of the alveolar stage of development and in theory have a reduced surface area for gas exchange to occur (Dassios et al 2018), which often can limit adequate diffusion of carbon dioxide across the alveolar blood gas barrier, hence increasing the ∆P-EtCO2 gradient. Additionally, the necessary incubator humidity for those born extremely preterm can cause droplets of water to build up within the capnography tubing, and thus potentially affecting the readings of EtCO2 (Supkis 2011).

With respect to the temporal changes of carbon dioxide, values increase steadily during the first 28 days of mechanical ventilation (Ali et al 2019). After the initial period following delivery, clinicians may be more tolerant of higher values of carbon dioxide, in agreement with the higher accepted upper end range for pCO2 as stated in recent guidance (NICE 2019). The ∆P-EtCO2 gradient however remains static as EtCO2 also exhibits a rising trend, consistent with previous literature in paediatric intensive care that demonstrates a static gradient during steady state mechanical ventilation (Goonasekera et al 2014). The larger ∆P-EtCO2 gradient in infants with BPD and those who required home oxygen is likely due to the larger alveolar dead space volume and greater ventilation-perfusion mismatch in infants with pulmonary morbidity (Williams et al 2021; Lopez et al 2011). Indeed, in infants with BPD, parts of the lung may have cystic changes which become non-functioning for gas exchange and thus do not contribute to carbon dioxide elimination (Abman et al 2017). A rising gradient during the course of invasive ventilation may thus highlight infants with worsening chronic lung disease and identify those who may benefit from targeted postnatal therapies.

Regarding the relationship between inspired oxygen and the ∆P-EtCO2 gradient, it has previously been demonstrated in very low birth weight infants that FiO2 affects the agreement of pCO2 with EtCO2 (Trevisanuto et al 2012). Poor oxygenation as a marker of increasing severity of pulmonary disease has also been associated with higher levels of EtCO2 (Mehta et al 2014). The pathophysiological connection behind poor oxygenation and a higher gradient of CO2 in severe respiratory disease might be increased intrapulmonary shunting which would cause a deterioration of oxygenation (and a greater FiO2 requirement) with concomitant reduced clearance of carbon dioxide (increasing the ∆P-EtCO2 gradient) (Goonasekera et al 2014).

This study has strengths and some limitations. Many simultaneous readings of carbon dioxide values were analysed, including samples taken from extremely preterm infants. Many of the samples were from capillary gases which may be affected by alterations in perfusion and we acknowledge that agreement between arterial and capillary values is dependent upon individual patient characteristics. The poorer correlation between pCO2 and EtCO2 in those less than 32 weeks could be due to many factors both physiological and technical. An increase in the respiratory dead space will lower the EtCO2 relative to the pCO2. Furthermore, the faster neonatal breathing rate in such infants could capture the EtCO2 prior to the end of expiration and hence give a falsely lower EtCO2.The weak correlation of FiO2 with ∆P-EtCO2, although statistically significant, may be due to the large number of gases analysed. Given the retrospective nature of the study, one limitation is that collecting manually recorded data from medical charts may be susceptible to observation bias, but this reflects clinical practice. The larger proportion of infants developing BPD in our study may be reflective of the inclusion of high number of infants born extremely prematurely, including those born at 22 weeks of gestation. One further limitation noted in our study is that sidestream capnography may function less well in extreme prematurity due to condensation from high incubator humidity accumulating in the circuit causing less reliable EtCO2 values, and often requiring the capnography tubing to be replaced frequently which can be costly. The exact effect of differing levels of incubator humidity on the ∆P-EtCO2 gradient have however not yet been determined.

CONCLUSION

End-tidal capnography monitoring has the potential to predict blood carbon dioxide values within the neonatal population and thus provide clinicians with a tool for continuous non-invasive monitoring of invasive mechanical ventilation. The relationship between the partial pressure of CO2 in the blood with end tidal CO2 though is not static and is one which is affected by gestation at birth, postnatal age and oxygen requirement at the time of study. This monitoring tool, however, may be clinically beneficial in environments where blood gas testing is not readily available, such as in neonatal transport settings. Furthermore, the clinical care of infants may be enhanced if the frequency of blood sampling can be reduced in those born extremely prematurely, with respiratory status still being closely monitored by continuous non-invasive means.

ACKNOWLEDGEMENTS

- Financial support:  Emma Williams was supported by a grant from the Charles Wolfson Charitable Trust and a non-conditional educational grant from SLE (Carefusion, UK).  This research was supported by the National Institute for Health Research (NIHR) Biomedical Research Centre at Guy's and St Thomas' NHS Foundation Trust and King's College London. The views expressed are those of the authors and not necessarily those of the NHS, the NIHR or the Department of Health.

Conflict of interest: Carefusion provided the equipment but were not involved in the design or performance of the study, analysis of the results or production of this manuscript.

Ethical statement:  The Health Research Authority (HRA) Toolkit of the National Health System (NHS), United Kingdom, confirmed the study would not need regulatory approval by a research ethics committee and hence the study was registered with the clinical governance department of King’s College Hospital (KCH) NHS Foundation Trust.

REFERENCES

Abman SH, Bancalari E and Jobe A 2017 The evolution of bronchopulmonary dysplasia after 50 years. American Thoracic Society.

Ali K, Kagalwalla S, Cockar I, Williams E, Tamura K, Dassios T and Greenough A 2019 Prediction of prolonged ventilator dependence in preterm infants. Eur J Pediatr 178 1063–1068.

Dassios T, Dassios KG and Dassios G 2018 Functional morphometry for the estimation of the alveolar surface area in prematurely-born infants. Respir Physiol Neurobiol. 254 49-54.

Goonasekera CD, Goodwin A, Wang Y, Goodman J and Deep A 2014 Arterial and end-tidal carbon dioxide difference in pediatric intensive care. Indian J Crit Care Med. 18 711-5.

Jobe AH, Bancalari E 2001 Bronchopulmonary dysplasia. Am J Respir Crit Care Med. 163 1723-1729.

Konca C, Tekin M, Uckardes F, Benli S and Kucuk A 2021 Comparison of simultaneous capillary blood gases and end-tidal carbon dioxide in mechanically ventilated pediatric patients with acute respiratory failure. J Pediatr Intensive Care. 10 58-64.

Lin HJ, Huang CT, Hsiao HF, Chiang MC and Jeng MJ 2017 End-tidal carbon dioxide measurement in preterm infants with low birth weight. PLoS One. 12 e0186408.

Lopez E, Mathlouthi J, Lescure S, Krauss B, Jarreau PH and Moriette G 2011 Capnography in spontaneously breathing preterm infants with bronchopulmonary dysplasia. Pediatr Pulmonol. 46 896-902.

McDonald MJ, Montgomery VL, Cerrito PB, Parrish CJ, Boland KA and Sullivan JE 2002 Comparison of end-tidal CO2 and Paco2 in children receiving mechanical ventilation. Pediatr Crit Care Med. 3 244-9.

McSwain SD, Hamel DS, Smith PB, Gentile MA, Srinivasan S, Meliones JN and Cheifetz IM 2010 End-tidal and arterial carbon dioxide measurements correlate across all levels of physiologic dead space. Respir Care. 55 288-93.

Mehta H, Kashyap R and Trivedi S 2014 Correlation of end tidal and arterial carbon dioxide levels in critically Ill neonates and children. Indian J Crit Care Med. 18 348-53.

NICE 2019 Specialist neonatal respiratory care for babies born preterm. In: Excellence NIfHaC, editor.

Ream RS, Schreiner MS, Neff JD, McRae KM, Jawad AF, Scherer PW and Neufeld GR 1995 Volumetric capnography in children. Influence of growth on the alveolar plateau slope. Anesthesiol. 82 64-73.

Scrivens A, Zivanovic S and Roehr CC 2019 Is waveform capnography reliable in neonates? Arch Dis Child. 104 711-5.

Singh BS, Gilbert U, Singh S and Govindaswami B 2013 Sidestream microstream end tidal carbon dioxide measurements and blood gas correlations in neonatal intensive care unit. Pediatr Pulmonol. 48 250-6.

Supkis DE 2011 Technical specifications and standards. In: Paulus DA, Gravenstein JS, Jaffe MB, Gravenstein N, editors. Capnography. 2 ed. Cambridge: Cambridge University Press p. 373-80.

Trevisanuto D, Giuliotto S, Cavallin F, Doglioni N, Toniazzo S and Zanardo V 2012 End-tidal carbon dioxide monitoring in very low birth weight infants: correlation and agreement with arterial carbon dioxide. Pediatr Pulmonol. 47 367-72.

Watkins AM and Weindling AM 1987 Monitoring of end tidal CO2 in neonatal intensive care. Arch Dis Child. 62 837-9.

Williams E, Dassios T, Dixon P and Greenough A 2021 Physiological dead space and alveolar ventilation in ventilated infants. Pediatr Res. [Epub ahead of print].

Williams E, Dassios T and Greenough A 2020 Assessment of sidestream end-tidal capnography in ventilated infants on the neonatal unit. Pediatr Pulmonol. 55 1468-73.

Wong SK, Chim M, Allen J, Butler A, Tyrrell J, Hurley T, McGovern M, Omer M, Lagan N, Meehan J, Cummins EP and Molloy EJ 2021 Carbon dioxide levels in neonates: what are safe parameters? Pediatr Res. [Epub ahead of print]

World Health Organisation 2018 Preterm birth. In: WHO, editor.

Yang KC, Su BH, Tsai FJ and Peng CT 2002 The comparison between capillary blood sampling and arterial blood sampling in an NICU. Acta Paediatr Taiwan. 43 124-6.

Yousuf T, Brinton T, Murtaza G, Wozniczka D, Ahmad K, Iskandar J, Mehta R, Keshmiri H, and Hanif T 2017 Establishing a gradient between partial pressure of arterial carbon dioxide and end-tidal carbon dioxide in patients with acute respiratory distress syndrome. J investig Med. 65 338-41.

Table 1: Demographic data and average ventilatory parameters over the first 28 days grouped by gestational age. Data displayed as median (range) or number (%).

|  | <32 weeks (n=66) | > 32 weeks (n=84) | p value |
| --- | --- | --- | --- |
| Female gender | 34 (51.5) | 32 (38.1) | 0.136 |
| Gestational age (weeks) | 26.0 (22.3-31.9) | 37.7 (32.0-41.9) | <0.001 |
| Birthweight (grams) | 785 (395-1860) | 3115 (1520-5520) | <0.001 |
| Birthweight z-score | -0.5 (-2.8 to 1.3) | -0.2 (-3.8 to 5.6) | 0.064 |
| Days of mechanical ventilation (days) | 13 (1-28) | 4 (1-20) | <0.001 |
| pCO2 (kPa) | 6.7 (3.7-12.4) | 5.5 (3.4-10.7) | <0.001 |
| EtCO2 (kPa) | 5.1 (0.5-8.9) | 4.6 (1.9-7.9) | <0.001 |
| FiO2 | 0.3 (0.2-1.0) | 0.3 (0.2-1.0) | <0.001 |
| Mean airway pressure (cmH2O) | 10.7 (6.1-18.4) | 8.5 (5.3-17.9) | <0.001 |
| Peak inspiratory pressure (cmH2O) | 20.8 (8.6-31.9) | 16.8 (8.7-45.7) | <0.001 |
| Positive end-expiratory pressure (cmH2O) | 5.7 (3.6-14.3) | 5.5 (4.0-8.4) | <0.001 |
| Tidal volume (ml/kg) | 6.8 (2.1-15.4) [n=61] | 5.6 (1.1-10.5) [n=84] | <0.001 |
| Trigger rate (per minute) | 20 (0-84) | 26 (0-89) | 0.123 |

Table 2: Trend of ∆P-EtCO2 over the first ten days of life grouped by gestational age. Data are presented as mean (standard deviation).

| Day | Gradient (kPa) <32 weeks | Gradient (kPa) >32 weeks | p value |
| --- | --- | --- | --- |
| 1 | 2.41 (1.81) | 1.60 (1.09) | 0.001 |
| 2 | 1.74 (1.48) | 0.95 (0.66) | <0.001 |
| 3 | 1.65 (0.99) | 0.86 (0.74) | 0.186 |
| 4 | 1.59 (1.07) | 0.62 (0.59) | 0.062 |
| 5 | 1.55 (0.96) | 0.61 (0.64) | 0.045 |
| 6 | 1.42 (1.18) | 0.88 (0.94) | 0.302 |
| 7 | 1.38 (1.31) | 0.77 (0.63) | 0.207 |
| 8 | 1.13 (0.91) | 0.67 (0.41) | 0.036 |
| 9 | 1.21 (0.80) | 0.98 (0.73) | 0.626 |
| 10 | 1.48 (1.31) | 1.10 (0.88) | 0.609 |

Table 3: Correlation of demographic, temporal and respiratory state with the ∆P-

EtCO2 gradient, split by gestational age

|  | ∆P-EtCO2 <32 weeks | ∆P-EtCO2 >32 weeks |
| --- | --- | --- |
| Birthweight (kg) | r = - 0.26 (p<0.001) | r = - 0.004 (p=0.943) |
| Day of life | r = 0.13 (p<0.001) | r = - 0.18 (p=0.002) |
| FiO2 | r = 0.44 (<p<0.001) | r = 0.39 (p<0.001) |

FIGURE LEGENDS

Figure 1:  	Correlation of pCO2 and EtCO2 across all gestations

Figure 2: 	Bland Altman plot of the difference between pCO2 and EtCO2 versus the average of simultaneous measurements

Figure 3: 	Temporal relationship between pCO2 and EtCO2 over the first 28 days of life in infants born at less than 32 weeks of gestation